| HALL RISK ASSESSMENT Surlingham Parish Council | Health, Safety and Environmental |  |
| --- | --- | --- |

| SECTION 1 –ASSESSMENT DETAILS |  |  |
| --- | --- | --- |
| Assessed activity Surlingham Village Hall |  | Assessment Ref No. – SPC 001 |
| Location of activity – Walnut Hill, Surlingham, NR14 7DQ |  | Substances used – none |
| Reason for Risk Assessment - | 2 yearly legal/compliance requirement |  |

| SECTION 2 – WHAT ARE THE HAZARDS? (circle those that apply and write each one into Section 5 below) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CAR PARK | EXTERIOR FRONT | EXTERIOR BACK | ENTRANCE AREA | MAIN HALL | KITCHEN – SCHOOL | KITCHEN –HALL | TOILETS | MAINTENANCE | STORES |
| Tripping and falling | Tripping and falling | Tripping and falling | Slipping on wet floor | Incorrect moving of heavy items | Hot surfaces | Hot surfaces | Slipping on wet floor | Falls from ladders | Badly stacked equipment |
| Parking | Window cleaning | Drains | Tripping and falling | Electric shock from portable appliances | Sharp implements | Sharp implements | Cleaning materials | Working alone | People moving heavy items |
| Food bank |  | Access |  | Slipping on wet floor | Cleaning materials | Cleaning material |  | Electric shock from appliances | Gazebos (loft) |
| Access to other hazards |  |  |  | Too many people | Dangling leads | Dangling leads |  | Incorrect moving of heavy items |  |
|  |  |  |  | Electric sockets (access by children) |  | Unsecured hot water boilers |  |  |  |
|  |  |  |  | Fire exits blocked |  | Poor food hygiene practices |  |  |  |
|  |  |  |  | Fire equipment not working |  |  |  |  |  |
|  |  |  |  | Burns from heaters |  |  |  |  |  |
|  |  |  |  | Working at height |  |  |  |  |  |
|  |  |  |  | Public Safety Precautions (Martyn’s Law) |  |  |  |  |  |
|  |  |  |  | Smoking |  |  |  |  |  |

| SECTION 3 – WHO IS LIKELY TO BE HARMED BY YOUR HAZARDS? (circle those that apply and estimate how many) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Experienced employee | 1 | Inexperienced employee |  | Agency worker |  | Cleaner | 1 | Maintenance |  |
| Visitor/Public | 30 | Contractor (CARETAKER) |  | Emergency services |  | Utilities workers |  | Security worker |  |
| Disabled employee |  | Other (VOLUNTEERS AND COUNCILLORS) | 7 |  |  |  |  |  |  |

| SECTION 4 – RISK CALCULATOR (use this to help you complete Section 5 below) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SEVERITY RATING (S) |  |  | LIKELIHOOD RATING (L) |  | = | RISK RATING (SxL) |  |  |
| 1 | Trivial |  | 1 | Extremely Remote |  | 1 to 3 - Controlled |  | Monitor, supervision on site |
| 2 | Minor |  | 2 | Remote |  | 4 to 9 - Low |  | Continue, but reduce risk level where possible |
| 3 | Major |  | 3 | Probable |  | 10 to 16 - Medium | Adopt additional control measures as soon as possible |  |
| 4 | Severe |  | 4 | Very likely |  | 20 to 25 - High | Stop work until additional controls are implemented |  |
| 5 | Fatal |  | 5 | Definite |  |  |  |  |

| SECTION 5 – DESCRIBE THE HAZARD, SAY WHAT YOU ARE ALREADY DOING AND SAY WHAT FURTHER ACTION YOU ARE PLANNING |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION OF HAZARD (e.g., impact from trolley) |  |  |  |  | EXISTING CONTROL MEASURES |  |  | S | L | SxL | PLANNED CONTROL MEASURES, TARGET DATES AND WHO IS RESPONSIBLE |  |
| 5.1 | Car park | Tripping and falling Disabled access not clearly marked Steps not visible in dark |  |  | None White paint on edges, faded |  |  | 3 3 | 2 3 | 6 9 | Clerk obtained quotes for painting yellow hatch markings. ‘Fire exit keep clear’ signage recommended (FRA) Steps to be repainted |  |
|  |  | Parking Spaces not marked Hall parking sign |  |  | None Faded sign |  |  | 1 1 | 1 1 | 2 2 | Space markings painted Replace sign |  |
|  |  | Other Railings rough Onto road Food bank |  |  | None None Volunteer monitoring food bank and surrounding area |  |  | 1 4 | 3 3 | 3 | Smooth down and repaint Signage/hatched area |  |
|  |  |  |  |  |  |  |  |  |  | 12 |  |  |
|  |  | Bins |  |  | None |  |  | 2 | 2 | 4 | Blocking fire exit Secure bins |  |
| 5.2 | Exterior - Front | Unclean windows |  |  | Annual clean |  |  | 2 | 2 | 4 | Monitor |  |
|  |  | Trip and fall – Uneven surface |  |  | None |  |  | 2 | 2 | 4 | Monitor |  |
| 5.3 | Exterior – Back | Yard near Fire Exit |  | Trip and falls – brick by hall kitchen | Moved to side of yard |  |  | 2 | 2 | 4 |  |  |
|  |  |  |  | Drains | Monitor to keep clear |  |  | 2 | 2 | 4 |  |  |
|  |  |  |  | Access | Area to be kept clear |  |  | 2 | 3 | 6 | Remove old noticeboard |  |
|  |  | Yard by school kitchen |  | Drains | Monitor to keep clear |  |  | 2 | 2 | 4 |  |  |
|  |  |  |  | Access | Only through kitchen |  |  | 3 | 3 | 9 | Clerk to have kitchen and fire door key |  |
| 5.4 | Entrance areas | Entrance by car park |  | Trip and fall – mats slide | None |  |  | 3 | 3 | 9 | Monitor at each meeting. Purchase some mat grips if necessary |  |
|  |  |  |  | Slipping on wet floor | Mats in place to wipe feet |  |  | 2 | 2 | 4 |  |  |
|  |  | Entrance to school |  | Trip and fall – mats unsecured | None |  |  | 3 | 4 | 12 | Monitor at each meeting. Purchase some mat grips if necessary Liaise with school |  |
|  |  |  |  | Slipping on wet floor | Mats in place to wipe feet |  |  | 2 | 2 | 4 |  |  |
| 5.5 | Main Hall | Incorrect moving of heavy items |  |  | Chair stand on wheels Bowls carpet on wheel rail Tables |  |  | 3 | 4 | 12 | Table holder with wheels rather than carry out Hall hirers to contact council with suggestions |  |
|  |  | Electric shock for portable appliances |  |  | Annual PAT test 5-year EICR |  |  | 4 | 2 | 8 | Report any issues to the council Include no outside portable equipment to be used in hire agreement |  |
|  |  | Slipping on wet floor |  |  | Mats provided at both entrances |  |  | 2 | 2 | 4 |  |  |
|  |  | Too many people |  |  | None |  |  | 4 | 3 | 12 | Implement hire agreements for regular, private and review school agreement |  |
|  |  | Electric sockets (access by children) |  |  | None |  |  | 4 | 3 | 12 | Liaise with school regarding additional measures if needed |  |
|  |  | Fire exits blocked |  |  | None |  |  | 5 | 3 | 15 | Signage keep clear fire exit Liaise with hall hirers and remove items |  |
|  |  | Fire equipment not working |  |  | Annual Fire Equipment testing |  |  | 2 | 2 | 4 | Implement monthly inspections and records in fire log book |  |
|  |  | Burns from heaters |  |  | None |  |  | 5 | 3 | 15 | Signage ‘careful hot’ |  |
|  |  | Working at height |  |  | Contractors, school, groups instructed to follow safe working practices |  |  | 3 | 3 | 9 | Step ladder in storage area next to main hall |  |
|  |  | Public Safety Precautions (Martyn’s Law) |  |  | None |  |  | 1 | 1 | 2 | For events involving 200+, monitor legislation for changes |  |
|  |  | Smoking |  |  | None |  |  | 3 | 3 | 9 | Include in hire agreement Signage |  |
|  |  | Fire alarm |  |  | None |  |  | 5 | 5 | 25 | Weekly testing Annual fire drill |  |
|  |  | Emergency Lighting |  |  | None |  |  | 5 | 4 | 20 | Monthly flick test Annual comprehensive and lux test |  |
| 5.6 | Kitchen – school | Hot surfaces |  |  | Clerk to speak with school |  |  |  |  |  |  |  |
|  |  | Sharp implements |  |  | Clerk to speak with school |  |  |  |  |  |  |  |
|  |  | Cleaning materialas |  |  | Clerk to speak with school |  |  |  |  |  |  |  |
|  |  | Dangling leads |  |  | Clerk to speak with school |  |  |  |  |  |  |  |
|  |  | Fire hazard |  |  | Wooden shed near extractor fan |  |  |  |  |  |  |  |
|  |  | Fire appliances |  |  | Check whats in kitchen |  |  |  |  |  |  |  |
|  |  | Extractor Fan |  |  | None |  |  |  |  |  | Cleaned to TR19 standards |  |
| 5.7 | Kitchen – hall | Hot surfaces |  |  | None |  |  | 2 | 2 | 4 | Signage Hood for cooker |  |
|  |  | Sharp implements |  |  | None |  |  | 2 | 2 | 4 | Signage |  |
|  |  | Cleaning material |  |  | Washing up liquid provided |  |  | 2 | 2 | 4 | Make hall users aware of cleaning cupboard supplies |  |
|  |  | Dangling leads |  |  | None |  |  | 3 | 3 | 9 | Include in hire agreement and checklist |  |
|  |  | Unsecured hot water boilers |  |  | None |  |  | 3 | 3 | 9 | Signage |  |
|  |  | Poor food hygiene practices |  |  | None |  |  | 3 | 3 | 9 | Signage |  |
|  |  | Fire risk |  |  | Tea towels on push bar |  |  |  |  |  | Removed and purchase tea towels holder |  |
| 5.8 | Toilets | Slipping on wet floor |  |  | Mats provided at entrance |  |  | 2 | 2 | 4 |  |  |
|  |  | Cleaning materials |  |  | Available in cleaners cupboard |  |  | 3 | 3 | 9 | Include in hire agreement and checklist |  |
| 5.9 | Maintenance | Falls from ladders |  |  | Contractors, school, groups instructed to follow safe working practices |  |  | 3 | 3 | 9 | Include in hire agreement and hirers aware of where ladders are |  |
|  |  | Working alone |  |  | Lone Home Working policy implemented |  |  | 2 | 2 | 4 |  |  |
|  |  | Electric shock from appliances |  |  | Annual PAT test 5-year EICR |  |  | 4 | 2 | 8 | Report any issues to the council |  |
|  |  | Incorrect moving of heavy items |  |  | Contractors, school, groups instructed to follow safe working practices |  |  | 3 | 3 | 9 | Report any issues to the council |  |
| 5.10 | Stores | Area adjacent to main hall | Badly stacked equipment |  | Storage rail installed |  |  | 3 | 5 | 15 | Include in hire agreement Liaise with hirers Signage ‘to be kept tidy’ |  |
|  |  |  | People moving heavy items |  | Contractors, school, groups instructed to follow safe working practices |  |  | 3 | 3 | 9 | Report any issues to the council |  |
|  |  |  | Electrics |  | None |  |  |  |  |  | Seal area |  |
|  |  | Cleaners cupboard | Badly stacked equipment |  | None |  |  | 4 | 4 | 16 | Clear and sort area Possible swap with shared cupboard |  |
|  |  |  | COSHH register |  | None |  |  | 4 | 5 | 20 | Implement |  |
|  |  |  | Cleaning schedule |  | None |  |  | 3 | 3 | 9 | Implement |  |
|  |  | Clerk/cleaners cupboard near ladies toilets | Badly stacked equipment |  | None |  |  | 4 | 4 | 16 | Clear and sort area Possible swap with shared cupboard |  |
|  |  | Loft | Gazebos |  | Instructions for erecting gazebos with each one |  |  | 3 | 3 | 9 |  |  |
| SECTION 6 – SIGN OFF AND SET A DATE FOR REVIEW |  |  |  |  |  |  |  |  |  |  |  |  |
| Risk assessors (signing to confirm they carried out the above risk assessment): |  |  |  |  |  |  |  |  |  |  |  |  |
| Name – C. Rust |  |  |  |  |  | Signature – C. E. Rust |  |  |  |  |  | Date – 30th October 2025 |
| When all actions have been completed, sign off below: |  |  |  |  |  |  |  |  |  |  |  |  |
| All actions completed (name) - |  |  |  |  |  |  | Date of completion – |  |  |  |  |  |
| All actions completed (sign) - |  |  |  |  |  |  | Date due for review – 2027 |  |  |  |  |  |